## Sheet1
POOL
|  | 1 | 2 | 3 | [5 empty] | Manual Valve Configuration
[11 empty] | V1 | v2 | V3 | V4
[10 empty] | Filter (Overflow) | O | C | C | O
Waste
| (Notes 3-4) | V2 | V3 | V4 | [5 empty] | Closed
Backwash
Recirculate
Rinse
Sand Filter Tank &
[6 empty] | Bleed Valve |  |  |  | Key
O= Valve open
Fixed in line non return valve |  | NRV | [7 empty] | C= Valve Closed
NRV= Non Return Valve
[10 empty] | Notes | 1.Before changing configuration
|  |  | PUMP & FILTER | [7 empty] | on multiport valve always turn off
| Notes 3-4) | V1 | [8 empty] | pump at mains and check valve settings
[7 empty] | Filter |  | Multiport Valve |  | 2. Check daily and clean out gutter
[9 empty] | (Note 1) |  | balance tank inflow wire filter
[6 empty] | Rinse |  | Waste |  |  | 3. Valves set at right angles with pipe= closed
From Balance Tank | [10 empty] | 4. Valves set at in line with pipes= open
[6 empty] | Recirculate |  | Closed |  |  | 5. Following vacuming set to rinse check glass
for clear water
[7 empty] | Backwash |  |  |  | 6. Following backwash, approx 2 minutes
[5 empty] | Filter = |  |  | ?
[5 empty] | Waste = |  |  | ?
[5 empty] | Closed = |  |  | ?
|  | Waste Outlet |  |  | Backwash = |  |  | ?
[5 empty] | Recirculate = |  |  | ?
[5 empty] | Rinse = |  |  | ?